## ihTags
tagid | tagname | address | description | polling | enable | engunit
2 | EGD.UNIT3.RESERVOIR_LEVEL | VRK_COMMON.RESERVOIR_LEVEL | null | 5 Sec | 1
3 | EGD.UNIT3.TAIL_BAY_LEVEL | VRK_COMMON.TAIL_BAY_LEVEL | null | 5 Sec | 1
1001 | EGD.UNIT1._System |  | null | 5 Sec | 1
1002 | EGD.UNIT1.AI001_71TBO_PI |  | Turbine Bearing Oil Pan Level | 5 Sec | 1
1003 | EGD.UNIT1.AI002_71GUG_PI |  | Gen. Upper Guide Oil Pan Level | 5 Sec | 1
1004 | EGD.UNIT1.AI003_71GLG_PI |  | Lower Guide & Thrust Bearing Oil Pan Level | 5 Sec | 1
1005 | EGD.UNIT1.AI004I_71ROI_PI |  | Gov. Oil Pressure Tank Level | 5 Sec | 1
1006 | EGD.UNIT1.AI005_71ROS_PI |  | Gov. Oil Sump Tank Level | 5 Sec | 1
1007 | EGD.UNIT1.AI006_80TBO_PI |  | Turbine Guide Brg. Oil Flow | 5 Sec | 1
1008 | EGD.UNIT1.AI007_80GUG_PI |  | Gen.Upper Guide Brg. Oil Flow | 5 Sec | 1
1009 | EGD.UNIT1.AI008_80RCW_PI |  | Gov. Oil Sump Tank CW | 5 Sec | 1
1010 | EGD.UNIT1.AI009_80GAW_PI |  | Gen. Air Cooling CW | 5 Sec | 1
1011 | EGD.UNIT1.AI010_80TGW_PI |  | Turbine Shaft Seal CW | 5 Sec | 1
1012 | EGD.UNIT1.AI011_80TBW_PI |  | Turbine Guide Brg. Oil CW | 5 Sec | 1
1013 | EGD.UNIT1.AI013_80GLW_PI |  | Gen. Lower Guide Brg. Oil CW | 5 Sec | 1
1014 | EGD.UNIT1.AI014_80TRSA_PI |  | Upper Runner Seal | 5 Sec | 1
1015 | EGD.UNIT1.AI015_80TRSB_PI |  | Lower Runner Seal | 5 Sec | 1
1016 | EGD.UNIT1.AI016_80ULO_PI |  | Thrust/Lower Guide Lub. Oil Flow | 5 Sec | 1
1017 | EGD.UNIT1.AI017_PT_RI_PI |  | Runner Side Press. (Runner Inlet Press.) | 5 Sec | 1
1018 | EGD.UNIT1.AI018_PT_ACT_PI |  | Actuator Press. | 5 Sec | 1
1019 | EGD.UNIT1.AI019_PT_AXS_PI |  | Aux. Servo. Press. | 5 Sec | 1
1020 | EGD.UNIT1.AI020_PT_PC_PI |  | Penstock Press. (Power Conduit Press.) | 5 Sec | 1
1021 | EGD.UNIT1.AI021_PT_RC_PI |  | Runner Back Press. (Runner Crown Press.) | 5 Sec | 1
1022 | EGD.UNIT1.AI022_PT_DT_PI |  | Draft Tube Press. | 5 Sec | 1
1023 | EGD.UNIT1.AI023_PT_TC_PI |  | Spiral Case Press. (Turbine Casing Press.) | 5 Sec | 1
1024 | EGD.UNIT1.AI024_PT_RB_PI |  | Sealing Box Press. (Runner Band Press.) | 5 Sec | 1
1025 | EGD.UNIT1.AI025_PT_HPO_PI |  | High Press. Oil Equipment | 5 Sec | 1
1026 | EGD.UNIT1.AI026_PT_DWP_PI |  | Dewatering Air Pressure. | 5 Sec | 1
1027 | EGD.UNIT1.AI027_PT_38C2_PI |  | Brake Air Supply | 5 Sec | 1
1028 | EGD.UNIT1.AI028_PT_38C1_PI |  | Brake Air Tank | 5 Sec | 1
1029 | EGD.UNIT1.AI030_PT_63GLG_PI |  | Thrust/Lower Guide Brg. Lub. Oil Press. | 5 Sec | 1
1030 | EGD.UNIT1.AI031_PT_63C_PI |  | Unit Cooling Water Press. | 5 Sec | 1
1031 | EGD.UNIT1.AI033_49XOI_PI |  | MAIN TRASFORMER OIL TEMP. | 5 Sec | 1
1032 | EGD.UNIT1.AI073_P_PI |  | Active Power | 5 Sec | 1
1033 | EGD.UNIT1.AI074_Q_PI |  | Reactive Power | 5 Sec | 1
1034 | EGD.UNIT1.AI085_80GUW_PI |  | Gen. Upper Guide Brg. Oil CW | 5 Sec | 1
1035 | EGD.UNIT1.AI086_49XWIH_PI |  | MAIN TRASFORMER HV WINDING TEMP. | 5 Sec | 1
1036 | EGD.UNIT1.AI087_49XWIL_PI |  | MAIN TRASFORMER LV WINDING TEMP. | 5 Sec | 1
1037 | EGD.UNIT1.MODBUS_STR_C_A_PI |  | Stator Teeth (A) | 5 Sec | 1
1038 | EGD.UNIT1.MODBUS_STR_C_B_PI |  | Stator Teeth (B) | 5 Sec | 1
1039 | EGD.UNIT1.MODBUS_STR_T_A_PI |  | Stator Core (A) | 5 Sec | 1
1040 | EGD.UNIT1.MODBUS_STR_T_B_PI |  | Stator Core (B) | 5 Sec | 1
1041 | EGD.UNIT1.RTD001_26CWS_PI |  | UNIT C/W TEMP. | 5 Sec | 1
1042 | EGD.UNIT1.RTD002_26TS1_PI |  | THRUST BRG. No.1 | 5 Sec | 1
1043 | EGD.UNIT1.RTD003_26TS2_PI |  | THRUST BRG. No.4 | 5 Sec | 1
1044 | EGD.UNIT1.RTD004_26TS3_PI | VRK_H1_UCC.RTD004_26TS3.PI | THRUST BRG. No.7 | 5 Sec | 1
1045 | EGD.UNIT1.RTD005_26TS4_PI | VRK_H1_UCC.RTD005_26TS4.PI | THRUST BRG. No.10 | 5 Sec | 1
1046 | EGD.UNIT1.RTD006_26LS1_PI | VRK_H1_UCC.RTD006_26LS1.PI | Lower Guide BRG. No.1 | 5 Sec | 1
1047 | EGD.UNIT1.RTD007_26LS2_PI | VRK_H1_UCC.RTD007_26LS2.PI | Lower Guide BRG. No.7 | 5 Sec | 1
1048 | EGD.UNIT1.RTD008_26LS3_PI | VRK_H1_UCC.RTD008_26LS3.PI | Lower Guide BRG. No.13 | 5 Sec | 1
1049 | EGD.UNIT1.RTD009_26LS4_PI | VRK_H1_UCC.RTD009_26LS4.PI | Lower Guide BRG. No.19 | 5 Sec | 1
1050 | EGD.UNIT1.RTD010_26STS_PI | VRK_H1_UCC.RTD010_26STS.PI | TEMP. SUMP TANK | 5 Sec | 1
1051 | EGD.UNIT1.RTD011_26LS5_PI | VRK_H1_UCC.RTD011_26LS5.PI | GEN THRUST&LOWER GUIDE BRG. OIL TEMP. | 5 Sec | 1
1052 | EGD.UNIT1.RTD012_26TI1_PI | VRK_H1_UCC.RTD012_26TI1.PI | TURBINE BRG. OIL COOLER A INLET TEMP. | 5 Sec | 1
1053 | EGD.UNIT1.RTD013_26TO1_PI | VRK_H1_UCC.RTD013_26TO1.PI | TURBINE BRG. OIL COOLER A OUTLET TEMP. | 5 Sec | 1
1054 | EGD.UNIT1.RTD014_26TW1_PI | VRK_H1_UCC.RTD014_26TW1.PI | C/W TURBINE OIL COOLER A TEMP. (OUTLET) | 5 Sec | 1
1055 | EGD.UNIT1.RTD015_26TI2_PI | VRK_H1_UCC.RTD015_26TI2.PI | TURBINE BRG. OIL COOLER B INLET TEMP. | 5 Sec | 1
1056 | EGD.UNIT1.RTD016_26TO2_PI | VRK_H1_UCC.RTD016_26TO2.PI | TURBINE BRG. OIL COOLER B OUTLET TEMP. | 5 Sec | 1
1057 | EGD.UNIT1.RTD017_26TW2_PI | VRK_H1_UCC.RTD017_26TW2.PI | C/W TURBINE OIL COOLER B TEMP. (OUTLET) | 5 Sec | 1
1058 | EGD.UNIT1.RTD019_26US1_PI | VRK_H1_UCC.RTD019_26US1.PI | Upper Guide BRG. No.1 | 5 Sec | 1
1059 | EGD.UNIT1.RTD020_26US2_PI | VRK_H1_UCC.RTD020_26US2.PI | Upper Guide BRG. No.3 | 5 Sec | 1
1060 | EGD.UNIT1.RTD021_26US3_PI | VRK_H1_UCC.RTD021_26US3.PI | Upper Guide BRG. No.4 | 5 Sec | 1
1061 | EGD.UNIT1.RTD022_26US4_PI | VRK_H1_UCC.RTD022_26US4.PI | Upper Guide BRG. No.6 | 5 Sec | 1
1062 | EGD.UNIT1.RTD023_26AIS1_PI | VRK_H1_UCC.RTD023_26AIS1.PI | STATOR AIR IN No.1 | 5 Sec | 1
1063 | EGD.UNIT1.RTD024_26AIS2_PI | VRK_H1_UCC.RTD024_26AIS2.PI | STATOR AIR IN No.2 | 5 Sec | 1
1064 | EGD.UNIT1.RTD025_26AIS3_PI | VRK_H1_UCC.RTD025_26AIS3.PI | STATOR AIR IN No.3 | 5 Sec | 1
1065 | EGD.UNIT1.RTD026_26AIS4_PI | VRK_H1_UCC.RTD026_26AIS4.PI | STATOR AIR IN No.4 | 5 Sec | 1
1066 | EGD.UNIT1.RTD031_26AOS1_PI | VRK_H1_UCC.RTD031_26AOS1.PI | STATOR AIR OUT No.1 | 5 Sec | 1
1067 | EGD.UNIT1.RTD032_26AOS2_PI | VRK_H1_UCC.RTD032_26AOS2.PI | STATOR AIR OUT No.2 | 5 Sec | 1
1068 | EGD.UNIT1.RTD033_26AOS3_PI | VRK_H1_UCC.RTD033_26AOS3.PI | STATOR AIR OUT No.3 | 5 Sec | 1
1069 | EGD.UNIT1.RTD034_26AOS4_PI | VRK_H1_UCC.RTD034_26AOS4.PI | STATOR AIR OUT No.4 | 5 Sec | 1
1070 | EGD.UNIT1.RTD039_26WIS_PI | VRK_H1_UCC.RTD039_26WIS.PI | STATOR CW. IN | 5 Sec | 1
1071 | EGD.UNIT1.RTD040_26WOS_PI | VRK_H1_UCC.RTD040_26WOS.PI | STATOR CW. OUT | 5 Sec | 1
1072 | EGD.UNIT1.RTD041_26US5_PI | VRK_H1_UCC.RTD041_26US5.PI | GEN UPPER GUIDE BRG. OIL TEMP. | 5 Sec | 1
1073 | EGD.UNIT1.RTD042_26DBT1_PI | VRK_H1_UCC.RTD042_26DBT1.PI | DYN. BRAKING TRANS. TEMP. (Phase A) | 5 Sec | 1
1074 | EGD.UNIT1.RTD043_26DBT2_PI | VRK_H1_UCC.RTD043_26DBT2.PI | DYN. BRAKING TRANS. TEMP. (Phase B) | 5 Sec | 1
1075 | EGD.UNIT1.RTD044_26DBT3_PI | VRK_H1_UCC.RTD044_26DBT3.PI | DYN. BRAKING TRANS. TEMP. (Phase C) | 5 Sec | 1
1076 | EGD.UNIT1.RTD045_26SG1_PI | VRK_H1_UCC.RTD045_26SG1.PI | Turbine Shaft Grand No.1 | 5 Sec | 1
1077 | EGD.UNIT1.RTD046_26SG2_PI | VRK_H1_UCC.RTD046_26SG2.PI | Turbine Shaft Grand No.2 | 5 Sec | 1
1078 | EGD.UNIT1.RTD047_26TB1_PI | VRK_H1_UCC.RTD047_26TB1.PI | Turbine Bearing No.1 | 5 Sec | 1
1079 | EGD.UNIT1.RTD048_26TB2_PI | VRK_H1_UCC.RTD048_26TB2.PI | Turbine Bearing No.4 | 5 Sec | 1
1080 | EGD.UNIT1.RTD049_26TB3_PI | VRK_H1_UCC.RTD049_26TB3.PI | Turbine Bearing No.7 | 5 Sec | 1
1081 | EGD.UNIT1.RTD050_26TB4_PI | VRK_H1_UCC.RTD050_26TB4.PI | Turbine Bearing No.10 | 5 Sec | 1
1082 | EGD.UNIT1.RTD051_26TB5_PI | VRK_H1_UCC.RTD051_26TB5.PI | Turbine Guide Brg. Oil Temp. | 5 Sec | 1
1083 | EGD.UNIT1.RTD052_STATOR_SLOT_A1_PI | VRK_H1_UCC.RTD052_STATOR_SLOT_A1.PI | Stator Winding Slot A1 Temp. | 5 Sec | 1
1084 | EGD.UNIT1.RTD053_STATOR_SLOT_A2_PI | VRK_H1_UCC.RTD053_STATOR_SLOT_A2.PI | Stator Winding Slot A2 Temp. | 5 Sec | 1
1085 | EGD.UNIT1.RTD054_STATOR_SLOT_A3_PI | VRK_H1_UCC.RTD054_STATOR_SLOT_A3.PI | Stator Winding Slot A3 Temp. | 5 Sec | 1
1086 | EGD.UNIT1.RTD055_STATOR_SLOT_B1_PI | VRK_H1_UCC.RTD055_STATOR_SLOT_B1.PI | Stator Winding Slot B1 Temp. | 5 Sec | 1
1087 | EGD.UNIT1.RTD056_STATOR_SLOT_B2_PI | VRK_H1_UCC.RTD056_STATOR_SLOT_B2.PI | Stator Winding Slot B2 Temp. | 5 Sec | 1
1088 | EGD.UNIT1.RTD057_STATOR_SLOT_B3_PI | VRK_H1_UCC.RTD057_STATOR_SLOT_B3.PI | Stator Winding Slot B3 Temp. | 5 Sec | 1
1089 | EGD.UNIT1.RTD058_STATOR_SLOT_C1_PI | VRK_H1_UCC.RTD058_STATOR_SLOT_C1.PI | Stator Winding Slot C1 Temp. | 5 Sec | 1
1090 | EGD.UNIT1.RTD059_STATOR_SLOT_C2_PI | VRK_H1_UCC.RTD059_STATOR_SLOT_C2.PI | Stator Winding Slot C2 Temp. | 5 Sec | 1
1091 | EGD.UNIT1.RTD060_STATOR_SLOT_C3_PI | VRK_H1_UCC.RTD060_STATOR_SLOT_C3.PI | Stator Winding Slot C3 Temp. | 5 Sec | 1
1092 | EGD.UNIT1.RTD061_AUX_TRANS_A_PI | VRK_H1_UCC.RTD061_AUX_TRANS_A.PI | Auxiliary Transformer Phase A TEMP. | 5 Sec | 1
1093 | EGD.UNIT1.RTD062_AUX_TRANS_B_PI | VRK_H1_UCC.RTD062_AUX_TRANS_B.PI | Auxiliary Transformer Phase B TEMP. | 5 Sec | 1
1094 | EGD.UNIT1.RTD063_AUX_TRANS_C_PI | VRK_H1_UCC.RTD063_AUX_TRANS_C.PI | Auxiliary Transformer Phase C TEMP. | 5 Sec | 1
1095 | EGD.UNIT1.DI110_92_CLS_ST | VRK_H1_UCC.DI110_92_CLS.ST | null | 5 Sec | 1
1096 | EGD.UNIT1.AI029_PT_63ROI_PI | VRK_H1_UCC.AI029_PT_63ROI.PI | GOV Oil Press Receiver | 5 Sec | 1
1097 | EGD.UNIT1.AI075_PF_PI | VRK_H1_UCC.AI075_PF.PI | Generator Power Factor | 5 Sec | 1
1098 | EGD.UNIT1.AI076_FREQ_PI | VRK_H1_UCC.AI076_FREQ.PI | Generator Frequency | 5 Sec | 1
1099 | EGD.UNIT1.AI077_GEN_Vab_PI | VRK_H1_UCC.AI077_GEN_Vab.PI | Generator Voltage Vab | 5 Sec | 1
1100 | EGD.UNIT1.AI078_GEN_Vbc_PI | VRK_H1_UCC.AI078_GEN_Vbc.PI | Generator Voltage Vbc | 5 Sec | 1
1101 | EGD.UNIT1.AI079_GEN_Vca_PI | VRK_H1_UCC.AI079_GEN_Vca.PI | Generator Voltage Vca | 5 Sec | 1
1102 | EGD.UNIT1.AI080_GEN_Ia_PI | VRK_H1_UCC.AI080_GEN_Ia.PI | Generator Current Ia | 5 Sec | 1
1103 | EGD.UNIT1.AI081_GEN_Ib_PI | VRK_H1_UCC.AI081_GEN_Ib.PI | Generator Current Ib | 5 Sec | 1
1104 | EGD.UNIT1.AI082_GEN_Ic_PI | VRK_H1_UCC.AI082_GEN_Ic.PI | Generator Current Ic | 5 Sec | 1
1105 | EGD.UNIT1.AI084_SHAFT_V_PI | VRK_H1_UCC.AI084_SHAFT_V.PI | Generator Shaft Voltage | 5 Sec | 1
1106 | EGD.UNIT1.AI088_SHAFT_I_PI | VRK_H1_UCC.AI088_SHAFT_I.PI | Generator Shaft Current | 5 Sec | 1
1107 | EGD.UNIT1.GV_CTRL_PV | VRK_H1_DGC.GV_CTRL_PV | null | 5 Sec | 1
1108 | EGD.UNIT1.STS_COUNTER_START_OP | VRK_H1_UCC.STS_COUNTER_START.OP | Number Generator Start | 5 Sec | 1
1109 | EGD.UNIT1.GEN_MODE_TIME_RUN_H | VRK_H1_UCC.GEN_MODE_TIME.RUN_H | Runtimes Generator Mode (Hour) | 5 Sec | 1
1110 | EGD.UNIT1.GEN_MODE_TIME_RUN_M | VRK_H1_UCC.GEN_MODE_TIME.RUN_M | Runtimes Generator Mode (Min) | 5 Sec | 1
1111 | EGD.UNIT1.SYNC_MODE_TIME_RUN_H | VRK_H1_UCC.SYNC_MODE_TIME.RUN_H | Runtimes synchronization Mode (Hour) | 5 Sec | 1
1112 | EGD.UNIT1.SYNC_MODE_TIME_RUN_M | VRK_H1_UCC.SYNC_MODE_TIME.RUN_M | Runtimes synchronization Mode (Min) | 5 Sec | 1
2001 | EGD.UNIT2._System |  | null | 5 Sec | 1
2002 | EGD.UNIT2.AI001_71TBO_PI | VRK_H2_UCC.AI001_71TBO.PI | Turbine Bearing Oil Pan Level | 5 Sec | 1
2003 | EGD.UNIT2.AI002_71GUG_PI | VRK_H2_UCC.AI002_71GUG.PI | Gen. Upper Guide Oil Pan Level | 5 Sec | 1
2004 | EGD.UNIT2.AI003_71GLG_PI | VRK_H2_UCC.AI003_71GLG.PI | Lower Guide & Thrust Bearing Oil Pan Level | 5 Sec | 1
2005 | EGD.UNIT2.AI004I_71ROI_PI | VRK_H2_UCC.AI004I_71ROI.PI | Gov. Oil Pressure Tank Level | 5 Sec | 1
2006 | EGD.UNIT2.AI005_71ROS_PI | VRK_H2_UCC.AI005_71ROS.PI | Gov. Oil Sump Tank Level | 5 Sec | 1
2007 | EGD.UNIT2.AI006_80TBO_PI | VRK_H2_UCC.AI006_80TBO.PI | Turbine Guide Brg. Oil Flow | 5 Sec | 1
2008 | EGD.UNIT2.AI007_80GUG_PI | VRK_H2_UCC.AI007_80GUG.PI | Gen.Upper Guide Brg. Oil Flow | 5 Sec | 1
2009 | EGD.UNIT2.AI008_80RCW_PI | VRK_H2_UCC.AI008_80RCW.PI | Gov. Oil Sump Tank CW | 5 Sec | 1
2010 | EGD.UNIT2.AI009_80GAW_PI | VRK_H2_UCC.AI009_80GAW.PI | Gen. Air Cooling CW | 5 Sec | 1
2011 | EGD.UNIT2.AI010_80TGW_PI | VRK_H2_UCC.AI010_80TGW.PI | Turbine Shaft Seal CW | 5 Sec | 1
2012 | EGD.UNIT2.AI011_80TBW_PI | VRK_H2_UCC.AI011_80TBW.PI | Turbine Guide Brg. Oil CW | 5 Sec | 1
2013 | EGD.UNIT2.AI013_80GLW_PI | VRK_H2_UCC.AI013_80GLW.PI | Gen. Lower Guide Brg. Oil CW | 5 Sec | 1
2014 | EGD.UNIT2.AI014_80TRSA_PI | VRK_H2_UCC.AI014_80TRSA.PI | Upper Runner Seal | 5 Sec | 1
2015 | EGD.UNIT2.AI015_80TRSB_PI | VRK_H2_UCC.AI015_80TRSB.PI | Lower Runner Seal | 5 Sec | 1
2016 | EGD.UNIT2.AI016_80ULO_PI | VRK_H2_UCC.AI016_80ULO.PI | Thrust/Lower Guide Lub. Oil Flow | 5 Sec | 1
2017 | EGD.UNIT2.AI017_PT_RI_PI | VRK_H2_UCC.AI017_PT_RI.PI | Runner Side Press. (Runner Inlet Press.) | 5 Sec | 1
2018 | EGD.UNIT2.AI018_PT_ACT_PI | VRK_H2_UCC.AI018_PT_ACT.PI | Actuator Press. | 5 Sec | 1
2019 | EGD.UNIT2.AI019_PT_AXS_PI | VRK_H2_UCC.AI019_PT_AXS.PI | Aux. Servo. Press. | 5 Sec | 1
2020 | EGD.UNIT2.AI020_PT_PC_PI | VRK_H2_UCC.AI020_PT_PC.PI | Penstock Press. (Power Conduit Press.) | 5 Sec | 1
2021 | EGD.UNIT2.AI021_PT_RC_PI | VRK_H2_UCC.AI021_PT_RC.PI | Runner Back Press. (Runner Crown Press.) | 5 Sec | 1
2022 | EGD.UNIT2.AI022_PT_DT_PI | VRK_H2_UCC.AI022_PT_DT.PI | Draft Tube Press. | 5 Sec | 1
2023 | EGD.UNIT2.AI023_PT_TC_PI | VRK_H2_UCC.AI023_PT_TC.PI | Spiral Case Press. (Turbine Casing Press.) | 5 Sec | 1
2024 | EGD.UNIT2.AI024_PT_RB_PI | VRK_H2_UCC.AI024_PT_RB.PI | Sealing Box Press. (Runner Band Press.) | 5 Sec | 1
2025 | EGD.UNIT2.AI025_PT_HPO_PI | VRK_H2_UCC.AI025_PT_HPO.PI | High Press. Oil Equipment | 5 Sec | 1
2026 | EGD.UNIT2.AI026_PT_DWP_PI | VRK_H2_UCC.AI026_PT_DWP.PI | Dewatering Air Pressure. | 5 Sec | 1
2027 | EGD.UNIT2.AI027_PT_38C2_PI | VRK_H2_UCC.AI027_PT_38C2.PI | Brake Air Supply | 5 Sec | 1
2028 | EGD.UNIT2.AI028_PT_38C1_PI | VRK_H2_UCC.AI028_PT_38C1.PI | Brake Air Tank | 5 Sec | 1
2029 | EGD.UNIT2.AI030_PT_63GLG_PI | VRK_H2_UCC.AI030_PT_63GLG.PI | Thrust/Lower Guide Brg. Lub. Oil Press. | 5 Sec | 1
2030 | EGD.UNIT2.AI031_PT_63C_PI | VRK_H2_UCC.AI031_PT_63C.PI | Unit Cooling Water Press. | 5 Sec | 1
2031 | EGD.UNIT2.AI033_49XOI_PI | VRK_H2_UCC.AI033_49XOI.PI | MAIN TRASFORMER OIL TEMP. | 5 Sec | 1
2032 | EGD.UNIT2.AI073_P_PI | VRK_H2_UCC.AI073_P.PI | Active Power | 5 Sec | 1
2033 | EGD.UNIT2.AI074_Q_PI | VRK_H2_UCC.AI074_Q.PI | Reactive Power | 5 Sec | 1
2034 | EGD.UNIT2.AI085_80GUW_PI | VRK_H2_UCC.AI085_80GUW.PI | Gen. Upper Guide Brg. Oil CW | 5 Sec | 1
2035 | EGD.UNIT2.AI086_49XWIH_PI | VRK_H2_UCC.AI086_49XWIH.PI | MAIN TRASFORMER HV WINDING TEMP. | 5 Sec | 1
2036 | EGD.UNIT2.AI087_49XWIL_PI | VRK_H2_UCC.AI087_49XWIL.PI | MAIN TRASFORMER LV WINDING TEMP. | 5 Sec | 1
2037 | EGD.UNIT2.MODBUS_STR_C_A_PI | VRK_H2_UCC.MODBUS_STR_C_A.PI | Stator Teeth (A) | 5 Sec | 1
2038 | EGD.UNIT2.MODBUS_STR_C_B_PI | VRK_H2_UCC.MODBUS_STR_C_B.PI | Stator Teeth (B) | 5 Sec | 1
2039 | EGD.UNIT2.MODBUS_STR_T_A_PI | VRK_H2_UCC.MODBUS_STR_T_A.PI | Stator Core (A) | 5 Sec | 1
2040 | EGD.UNIT2.MODBUS_STR_T_B_PI | VRK_H2_UCC.MODBUS_STR_T_B.PI | Stator Core (B) | 5 Sec | 1
2041 | EGD.UNIT2.RTD001_26CWS_PI | VRK_H2_UCC.RTD001_26CWS.PI | UNIT C/W TEMP. | 5 Sec | 1
2042 | EGD.UNIT2.RTD002_26TS1_PI | VRK_H2_UCC.RTD002_26TS1.PI | THRUST BRG. No.1 | 5 Sec | 1
2043 | EGD.UNIT2.RTD003_26TS2_PI | VRK_H2_UCC.RTD003_26TS2.PI | THRUST BRG. No.4 | 5 Sec | 1
2044 | EGD.UNIT2.RTD004_26TS3_PI | VRK_H2_UCC.RTD004_26TS3.PI | THRUST BRG. No.7 | 5 Sec | 1
2045 | EGD.UNIT2.RTD005_26TS4_PI | VRK_H2_UCC.RTD005_26TS4.PI | THRUST BRG. No.10 | 5 Sec | 1
2046 | EGD.UNIT2.RTD006_26LS1_PI | VRK_H2_UCC.RTD006_26LS1.PI | Lower Guide BRG. No.1 | 5 Sec | 1
2047 | EGD.UNIT2.RTD007_26LS2_PI | VRK_H2_UCC.RTD007_26LS2.PI | Lower Guide BRG. No.7 | 5 Sec | 1
2048 | EGD.UNIT2.RTD008_26LS3_PI | VRK_H2_UCC.RTD008_26LS3.PI | Lower Guide BRG. No.13 | 5 Sec | 1
2049 | EGD.UNIT2.RTD009_26LS4_PI | VRK_H2_UCC.RTD009_26LS4.PI | Lower Guide BRG. No.19 | 5 Sec | 1
2050 | EGD.UNIT2.RTD010_26STS_PI | VRK_H2_UCC.RTD010_26STS.PI | TEMP. SUMP TANK | 5 Sec | 1
2051 | EGD.UNIT2.RTD011_26LS5_PI | VRK_H2_UCC.RTD011_26LS5.PI | GEN THRUST&LOWER GUIDE BRG. OIL TEMP. | 5 Sec | 1
2052 | EGD.UNIT2.RTD012_26TI1_PI | VRK_H2_UCC.RTD012_26TI1.PI | TURBINE BRG. OIL COOLER A INLET TEMP. | 5 Sec | 1
2053 | EGD.UNIT2.RTD013_26TO1_PI | VRK_H2_UCC.RTD013_26TO1.PI | TURBINE BRG. OIL COOLER A OUTLET TEMP. | 5 Sec | 1
2054 | EGD.UNIT2.RTD014_26TW1_PI | VRK_H2_UCC.RTD014_26TW1.PI | C/W TURBINE OIL COOLER A TEMP. (OUTLET) | 5 Sec | 1
2055 | EGD.UNIT2.RTD015_26TI2_PI | VRK_H2_UCC.RTD015_26TI2.PI | TURBINE BRG. OIL COOLER B INLET TEMP. | 5 Sec | 1
2056 | EGD.UNIT2.RTD016_26TO2_PI | VRK_H2_UCC.RTD016_26TO2.PI | TURBINE BRG. OIL COOLER B OUTLET TEMP. | 5 Sec | 1
2057 | EGD.UNIT2.RTD017_26TW2_PI | VRK_H2_UCC.RTD017_26TW2.PI | C/W TURBINE OIL COOLER B TEMP. (OUTLET) | 5 Sec | 1
2058 | EGD.UNIT2.RTD019_26US1_PI | VRK_H2_UCC.RTD019_26US1.PI | Upper Guide BRG. No.1 | 5 Sec | 1
2059 | EGD.UNIT2.RTD020_26US2_PI | VRK_H2_UCC.RTD020_26US2.PI | Upper Guide BRG. No.3 | 5 Sec | 1
2060 | EGD.UNIT2.RTD021_26US3_PI | VRK_H2_UCC.RTD021_26US3.PI | Upper Guide BRG. No.4 | 5 Sec | 1
2061 | EGD.UNIT2.RTD022_26US4_PI | VRK_H2_UCC.RTD022_26US4.PI | Upper Guide BRG. No.6 | 5 Sec | 1
2062 | EGD.UNIT2.RTD023_26AIS1_PI | VRK_H2_UCC.RTD023_26AIS1.PI | STATOR AIR IN No.1 | 5 Sec | 1
2063 | EGD.UNIT2.RTD024_26AIS2_PI | VRK_H2_UCC.RTD024_26AIS2.PI | STATOR AIR IN No.2 | 5 Sec | 1
2064 | EGD.UNIT2.RTD025_26AIS3_PI | VRK_H2_UCC.RTD025_26AIS3.PI | STATOR AIR IN No.3 | 5 Sec | 1
2065 | EGD.UNIT2.RTD026_26AIS4_PI | VRK_H2_UCC.RTD026_26AIS4.PI | STATOR AIR IN No.4 | 5 Sec | 1
2066 | EGD.UNIT2.RTD031_26AOS1_PI | VRK_H2_UCC.RTD031_26AOS1.PI | STATOR AIR OUT No.1 | 5 Sec | 1
2067 | EGD.UNIT2.RTD032_26AOS2_PI | VRK_H2_UCC.RTD032_26AOS2.PI | STATOR AIR OUT No.2 | 5 Sec | 1
2068 | EGD.UNIT2.RTD033_26AOS3_PI | VRK_H2_UCC.RTD033_26AOS3.PI | STATOR AIR OUT No.3 | 5 Sec | 1
2069 | EGD.UNIT2.RTD034_26AOS4_PI | VRK_H2_UCC.RTD034_26AOS4.PI | STATOR AIR OUT No.4 | 5 Sec | 1
2070 | EGD.UNIT2.RTD039_26WIS_PI | VRK_H2_UCC.RTD039_26WIS.PI | STATOR CW. IN | 5 Sec | 1
2071 | EGD.UNIT2.RTD040_26WOS_PI | VRK_H2_UCC.RTD040_26WOS.PI | STATOR CW. OUT | 5 Sec | 1
2072 | EGD.UNIT2.RTD041_26US5_PI | VRK_H2_UCC.RTD041_26US5.PI | GEN UPPER GUIDE BRG. OIL TEMP. | 5 Sec | 1
2073 | EGD.UNIT2.RTD042_26DBT1_PI | VRK_H2_UCC.RTD042_26DBT1.PI | DYN. BRAKING TRANS. TEMP. (Phase A) | 5 Sec | 1
2074 | EGD.UNIT2.RTD043_26DBT2_PI | VRK_H2_UCC.RTD043_26DBT2.PI | DYN. BRAKING TRANS. TEMP. (Phase B) | 5 Sec | 1
2075 | EGD.UNIT2.RTD044_26DBT3_PI | VRK_H2_UCC.RTD044_26DBT3.PI | DYN. BRAKING TRANS. TEMP. (Phase C) | 5 Sec | 1
2076 | EGD.UNIT2.RTD045_26SG1_PI | VRK_H2_UCC.RTD045_26SG1.PI | Turbine Shaft Grand No.1 | 5 Sec | 1
2077 | EGD.UNIT2.RTD046_26SG2_PI | VRK_H2_UCC.RTD046_26SG2.PI | Turbine Shaft Grand No.2 | 5 Sec | 1
2078 | EGD.UNIT2.RTD047_26TB1_PI | VRK_H2_UCC.RTD047_26TB1.PI | Turbine Bearing No.1 | 5 Sec | 1
2079 | EGD.UNIT2.RTD048_26TB2_PI | VRK_H2_UCC.RTD048_26TB2.PI | Turbine Bearing No.4 | 5 Sec | 1
2080 | EGD.UNIT2.RTD049_26TB3_PI | VRK_H2_UCC.RTD049_26TB3.PI | Turbine Bearing No.7 | 5 Sec | 1
2081 | EGD.UNIT2.RTD050_26TB4_PI | VRK_H2_UCC.RTD050_26TB4.PI | Turbine Bearing No.10 | 5 Sec | 1
2082 | EGD.UNIT2.RTD051_26TB5_PI | VRK_H2_UCC.RTD051_26TB5.PI | Turbine Guide Brg. Oil Temp. | 5 Sec | 1
2083 | EGD.UNIT2.RTD052_STATOR_SLOT_A1_PI | VRK_H2_UCC.RTD052_STATOR_SLOT_A1.PI | Stator Winding Slot A1 Temp. | 5 Sec | 1
2084 | EGD.UNIT2.RTD053_STATOR_SLOT_A2_PI | VRK_H2_UCC.RTD053_STATOR_SLOT_A2.PI | Stator Winding Slot A2 Temp. | 5 Sec | 1
2085 | EGD.UNIT2.RTD054_STATOR_SLOT_A3_PI | VRK_H2_UCC.RTD054_STATOR_SLOT_A3.PI | Stator Winding Slot A3 Temp. | 5 Sec | 1
2086 | EGD.UNIT2.RTD055_STATOR_SLOT_B1_PI | VRK_H2_UCC.RTD055_STATOR_SLOT_B1.PI | Stator Winding Slot B1 Temp. | 5 Sec | 1
2087 | EGD.UNIT2.RTD056_STATOR_SLOT_B2_PI | VRK_H2_UCC.RTD056_STATOR_SLOT_B2.PI | Stator Winding Slot B2 Temp. | 5 Sec | 1
2088 | EGD.UNIT2.RTD057_STATOR_SLOT_B3_PI | VRK_H2_UCC.RTD057_STATOR_SLOT_B3.PI | Stator Winding Slot B3 Temp. | 5 Sec | 1
2089 | EGD.UNIT2.RTD058_STATOR_SLOT_C1_PI | VRK_H2_UCC.RTD058_STATOR_SLOT_C1.PI | Stator Winding Slot C1 Temp. | 5 Sec | 1
2090 | EGD.UNIT2.RTD059_STATOR_SLOT_C2_PI | VRK_H2_UCC.RTD059_STATOR_SLOT_C2.PI | Stator Winding Slot C2 Temp. | 5 Sec | 1
2091 | EGD.UNIT2.RTD060_STATOR_SLOT_C3_PI | VRK_H2_UCC.RTD060_STATOR_SLOT_C3.PI | Stator Winding Slot C3 Temp. | 5 Sec | 1
2092 | EGD.UNIT2.RTD061_AUX_TRANS_A_PI | VRK_H2_UCC.RTD061_AUX_TRANS_A.PI | Auxiliary Transformer Phase A TEMP. | 5 Sec | 1
2093 | EGD.UNIT2.RTD062_AUX_TRANS_B_PI | VRK_H2_UCC.RTD062_AUX_TRANS_B.PI | Auxiliary Transformer Phase B TEMP. | 5 Sec | 1
2094 | EGD.UNIT2.RTD063_AUX_TRANS_C_PI | VRK_H2_UCC.RTD063_AUX_TRANS_C.PI | Auxiliary Transformer Phase C TEMP. | 5 Sec | 1
2095 | EGD.UNIT2.DI110_92_CLS_ST | VRK_H2_UCC.DI110_92_CLS.ST | Status BKR Unit | 5 Sec | 1
2096 | EGD.UNIT2.AI029_PT_63ROI_PI | VRK_H2_UCC.AI029_PT_63ROI.PI | GOV Oil Press Receiver | 5 Sec | 1
2097 | EGD.UNIT2.AI075_PF_PI | VRK_H2_UCC.AI075_PF.PI | Generator Power Factor | 5 Sec | 1
2098 | EGD.UNIT2.AI076_FREQ_PI | VRK_H2_UCC.AI076_FREQ.PI | Generator Frequency | 5 Sec | 1
2099 | EGD.UNIT2.AI077_GEN_Vab_PI | VRK_H2_UCC.AI077_GEN_Vab.PI | Generator Voltage Vab | 5 Sec | 1
2100 | EGD.UNIT2.AI078_GEN_Vbc_PI | VRK_H2_UCC.AI078_GEN_Vbc.PI | Generator Voltage Vbc | 5 Sec | 1
2101 | EGD.UNIT2.AI079_GEN_Vca_PI | VRK_H2_UCC.AI079_GEN_Vca.PI | Generator Voltage Vca | 5 Sec | 1
2102 | EGD.UNIT2.AI080_GEN_Ia_PI | VRK_H2_UCC.AI080_GEN_Ia.PI | Generator Current Ia | 5 Sec | 1
2103 | EGD.UNIT2.AI081_GEN_Ib_PI | VRK_H2_UCC.AI081_GEN_Ib.PI | Generator Current Ib | 5 Sec | 1
2104 | EGD.UNIT2.AI082_GEN_Ic_PI | VRK_H2_UCC.AI082_GEN_Ic.PI | Generator Current Ic | 5 Sec | 1
2105 | EGD.UNIT2.AI084_SHAFT_V_PI | VRK_H2_UCC.AI084_SHAFT_V.PI | Generator Shaft Voltage | 5 Sec | 1
2106 | EGD.UNIT2.AI088_SHAFT_I_PI | VRK_H2_UCC.AI088_SHAFT_I.PI | Generator Shaft Current | 5 Sec | 1
2107 | EGD.UNIT2.GEN_MODE_TIME_RUN_H | VRK_H2_UCC.GEN_MODE_TIME.RUN_H | Runtimes Generator Mode (Hour) | 5 Sec | 1
2108 | EGD.UNIT2.GEN_MODE_TIME_RUN_M | VRK_H2_UCC.GEN_MODE_TIME.RUN_M | Runtimes Generator Mode (Min) | 5 Sec | 1
2109 | EGD.UNIT2.GV_CTRL_PV | VRK_H2_DGC.GV_CTRL_PV | null | 5 Sec | 1
2110 | EGD.UNIT2.STS_COUNTER_START_OP | VRK_H2_UCC.STS_COUNTER_START.OP | Number Generator Start | 5 Sec | 1
2111 | EGD.UNIT2.SYNC_MODE_TIME_RUN_H | VRK_H2_UCC.SYNC_MODE_TIME.RUN_H | Runtimes synchronization Mode (Hour) | 5 Sec | 1
2112 | EGD.UNIT2.SYNC_MODE_TIME_RUN_M | VRK_H2_UCC.SYNC_MODE_TIME.RUN_M | Runtimes synchronization Mode (Min) | 5 Sec | 1
3001 | EGD.UNIT3._System |  | null | 5 Sec | 1
3002 | EGD.UNIT3.AI001_71TBO_PI | VRK_H3_UCC.AI001_71TBO.PI | Turbine Bearing Oil Pan Level | 5 Sec | 1
3003 | EGD.UNIT3.AI002_71GUG_PI | VRK_H3_UCC.AI002_71GUG.PI | Gen. Upper Guide Oil Pan Level | 5 Sec | 1
3004 | EGD.UNIT3.AI003_71GLG_PI | VRK_H3_UCC.AI003_71GLG.PI | Lower Guide & Thrust Bearing Oil Pan Level | 5 Sec | 1
3005 | EGD.UNIT3.AI004I_71ROI_PI | VRK_H3_UCC.AI004I_71ROI.PI | Gov. Oil Pressure Tank Level | 5 Sec | 1
3006 | EGD.UNIT3.AI005_71ROS_PI | VRK_H3_UCC.AI005_71ROS.PI | Gov. Oil Sump Tank Level | 5 Sec | 1
3007 | EGD.UNIT3.AI006_80TBO_PI | VRK_H3_UCC.AI006_80TBO.PI | Turbine Guide Brg. Oil Flow | 5 Sec | 1
3008 | EGD.UNIT3.AI007_80GUG_PI | VRK_H3_UCC.AI007_80GUG.PI | Gen.Upper Guide Brg. Oil Flow | 5 Sec | 1
3009 | EGD.UNIT3.AI008_80RCW_PI | VRK_H3_UCC.AI008_80RCW.PI | Gov. Oil Sump Tank CW | 5 Sec | 1
3010 | EGD.UNIT3.AI009_80GAW_PI | VRK_H3_UCC.AI009_80GAW.PI | Gen. Air Cooling CW | 5 Sec | 1
3011 | EGD.UNIT3.AI010_80TGW_PI | VRK_H3_UCC.AI010_80TGW.PI | Turbine Shaft Seal CW | 5 Sec | 1
3012 | EGD.UNIT3.AI011_80TBW_PI | VRK_H3_UCC.AI011_80TBW.PI | Turbine Guide Brg. Oil CW | 5 Sec | 1
3013 | EGD.UNIT3.AI013_80GLW_PI | VRK_H3_UCC.AI013_80GLW.PI | Gen. Lower Guide Brg. Oil CW | 5 Sec | 1
3014 | EGD.UNIT3.AI014_80TRSA_PI | VRK_H3_UCC.AI014_80TRSA.PI | Upper Runner Seal | 5 Sec | 1
3015 | EGD.UNIT3.AI015_80TRSB_PI | VRK_H3_UCC.AI015_80TRSB.PI | Lower Runner Seal | 5 Sec | 1
3016 | EGD.UNIT3.AI016_80ULO_PI | VRK_H3_UCC.AI016_80ULO.PI | Thrust/Lower Guide Lub. Oil Flow | 5 Sec | 1
3017 | EGD.UNIT3.AI017_PT_RI_PI | VRK_H3_UCC.AI017_PT_RI.PI | Runner Side Press. (Runner Inlet Press.) | 5 Sec | 1
3018 | EGD.UNIT3.AI018_PT_ACT_PI | VRK_H3_UCC.AI018_PT_ACT.PI | Actuator Press. | 5 Sec | 1
3019 | EGD.UNIT3.AI019_PT_AXS_PI | VRK_H3_UCC.AI019_PT_AXS.PI | Aux. Servo. Press. | 5 Sec | 1
3020 | EGD.UNIT3.AI020_PT_PC_PI | VRK_H3_UCC.AI020_PT_PC.PI | Penstock Press. (Power Conduit Press.) | 5 Sec | 1
3021 | EGD.UNIT3.AI021_PT_RC_PI | VRK_H3_UCC.AI021_PT_RC.PI | Runner Back Press. (Runner Crown Press.) | 5 Sec | 1
3022 | EGD.UNIT3.AI022_PT_DT_PI | VRK_H3_UCC.AI022_PT_DT.PI | Draft Tube Press. | 5 Sec | 1
3023 | EGD.UNIT3.AI023_PT_TC_PI | VRK_H3_UCC.AI023_PT_TC.PI | Spiral Case Press. (Turbine Casing Press.) | 5 Sec | 1
3024 | EGD.UNIT3.AI024_PT_RB_PI | VRK_H3_UCC.AI024_PT_RB.PI | Sealing Box Press. (Runner Band Press.) | 5 Sec | 1
3025 | EGD.UNIT3.AI025_PT_HPO_PI | VRK_H3_UCC.AI025_PT_HPO.PI | High Press. Oil Equipment | 5 Sec | 1
3026 | EGD.UNIT3.AI026_PT_DWP_PI | VRK_H3_UCC.AI026_PT_DWP.PI | Dewatering Air Pressure. | 5 Sec | 1
3027 | EGD.UNIT3.AI027_PT_38C2_PI | VRK_H3_UCC.AI027_PT_38C2.PI | Brake Air Supply | 5 Sec | 1
3028 | EGD.UNIT3.AI028_PT_38C1_PI | VRK_H3_UCC.AI028_PT_38C1.PI | Brake Air Tank | 5 Sec | 1
3029 | EGD.UNIT3.AI030_PT_63GLG_PI | VRK_H3_UCC.AI030_PT_63GLG.PI | Thrust/Lower Guide Brg. Lub. Oil Press. | 5 Sec | 1
3030 | EGD.UNIT3.AI031_PT_63C_PI | VRK_H3_UCC.AI031_PT_63C.PI | Unit Cooling Water Press. | 5 Sec | 1
3031 | EGD.UNIT3.AI033_49XOI_PI | VRK_H3_UCC.AI033_49XOI.PI | MAIN TRASFORMER OIL TEMP. | 5 Sec | 1
3032 | EGD.UNIT3.AI073_P_PI | VRK_H3_UCC.AI073_P.PI | ACTIVE POWER | 5 Sec | 1
3033 | EGD.UNIT3.AI074_Q_PI | VRK_H3_UCC.AI074_Q.PI | REACTIVE POWER | 5 Sec | 1
3034 | EGD.UNIT3.AI085_80GUW_PI | VRK_H3_UCC.AI085_80GUW.PI | Gen. Upper Guide Brg. Oil CW | 5 Sec | 1
3035 | EGD.UNIT3.AI086_49XWIH_PI | VRK_H3_UCC.AI086_49XWIH.PI | MAIN TRASFORMER HV WINDING TEMP. | 5 Sec | 1
3036 | EGD.UNIT3.AI087_49XWIL_PI | VRK_H3_UCC.AI087_49XWIL.PI | MAIN TRASFORMER LV WINDING TEMP. | 5 Sec | 1
3037 | EGD.UNIT3.MODBUS_STR_C_A_PI | VRK_H3_UCC.MODBUS_STR_C_A.PI | Stator Teeth (A) | 5 Sec | 1
3038 | EGD.UNIT3.MODBUS_STR_C_B_PI | VRK_H3_UCC.MODBUS_STR_C_B.PI | Stator Teeth (B) | 5 Sec | 1
3039 | EGD.UNIT3.MODBUS_STR_T_A_PI | VRK_H3_UCC.MODBUS_STR_T_A.PI | Stator Core (A) | 5 Sec | 1
3040 | EGD.UNIT3.MODBUS_STR_T_B_PI | VRK_H3_UCC.MODBUS_STR_T_B.PI | Stator Core (B) | 5 Sec | 1
3041 | EGD.UNIT3.RTD001_26CWS_PI | VRK_H3_UCC.RTD001_26CWS.PI | UNIT C/W TEMP. | 5 Sec | 1
3042 | EGD.UNIT3.RTD002_26TS1_PI | VRK_H3_UCC.RTD002_26TS1.PI | THRUST BRG. No.1 | 5 Sec | 1
3043 | EGD.UNIT3.RTD003_26TS2_PI | VRK_H3_UCC.RTD003_26TS2.PI | THRUST BRG. No.4 | 5 Sec | 1
3044 | EGD.UNIT3.RTD004_26TS3_PI | VRK_H3_UCC.RTD004_26TS3.PI | THRUST BRG. No.7 | 5 Sec | 1
3045 | EGD.UNIT3.RTD005_26TS4_PI | VRK_H3_UCC.RTD005_26TS4.PI | THRUST BRG. No.10 | 5 Sec | 1
3046 | EGD.UNIT3.RTD006_26LS1_PI | VRK_H3_UCC.RTD006_26LS1.PI | Lower Guide BRG. No.1 | 5 Sec | 1
3047 | EGD.UNIT3.RTD007_26LS2_PI | VRK_H3_UCC.RTD007_26LS2.PI | Lower Guide BRG. No.7 | 5 Sec | 1
3048 | EGD.UNIT3.RTD008_26LS3_PI | VRK_H3_UCC.RTD008_26LS3.PI | Lower Guide BRG. No.13 | 5 Sec | 1
3049 | EGD.UNIT3.RTD009_26LS4_PI | VRK_H3_UCC.RTD009_26LS4.PI | Lower Guide BRG. No.19 | 5 Sec | 1
3050 | EGD.UNIT3.RTD010_26STS_PI | VRK_H3_UCC.RTD010_26STS.PI | TEMP. SUMP TANK | 5 Sec | 1
3051 | EGD.UNIT3.RTD011_26LS5_PI | VRK_H3_UCC.RTD011_26LS5.PI | GEN THRUST&LOWER GUIDE BRG. OIL TEMP. | 5 Sec | 1
3052 | EGD.UNIT3.RTD012_26TI1_PI | VRK_H3_UCC.RTD012_26TI1.PI | TURBINE BRG. OIL COOLER A INLET TEMP. | 5 Sec | 1
3053 | EGD.UNIT3.RTD013_26TO1_PI | VRK_H3_UCC.RTD013_26TO1.PI | TURBINE BRG. OIL COOLER A OUTLET TEMP. | 5 Sec | 1
3054 | EGD.UNIT3.RTD014_26TW1_PI | VRK_H3_UCC.RTD014_26TW1.PI | C/W TURBINE OIL COOLER A TEMP. (OUTLET) | 5 Sec | 1
3055 | EGD.UNIT3.RTD015_26TI2_PI | VRK_H3_UCC.RTD015_26TI2.PI | TURBINE BRG. OIL COOLER B INLET TEMP. | 5 Sec | 1
3056 | EGD.UNIT3.RTD016_26TO2_PI | VRK_H3_UCC.RTD016_26TO2.PI | TURBINE BRG. OIL COOLER B OUTLET TEMP. | 5 Sec | 1
3057 | EGD.UNIT3.RTD017_26TW2_PI | VRK_H3_UCC.RTD017_26TW2.PI | C/W TURBINE OIL COOLER B TEMP. (OUTLET) | 5 Sec | 1
3058 | EGD.UNIT3.RTD019_26US1_PI | VRK_H3_UCC.RTD019_26US1.PI | Upper Guide BRG. No.1 | 5 Sec | 1
3059 | EGD.UNIT3.RTD020_26US2_PI | VRK_H3_UCC.RTD020_26US2.PI | Upper Guide BRG. No.3 | 5 Sec | 1
3060 | EGD.UNIT3.RTD021_26US3_PI | VRK_H3_UCC.RTD021_26US3.PI | Upper Guide BRG. No.4 | 5 Sec | 1
3061 | EGD.UNIT3.RTD022_26US4_PI | VRK_H3_UCC.RTD022_26US4.PI | Upper Guide BRG. No.6 | 5 Sec | 1
3062 | EGD.UNIT3.RTD023_26AIS1_PI | VRK_H3_UCC.RTD023_26AIS1.PI | STATOR AIR IN No.1 | 5 Sec | 1
3063 | EGD.UNIT3.RTD024_26AIS2_PI | VRK_H3_UCC.RTD024_26AIS2.PI | STATOR AIR IN No.2 | 5 Sec | 1
3064 | EGD.UNIT3.RTD025_26AIS3_PI | VRK_H3_UCC.RTD025_26AIS3.PI | STATOR AIR IN No.3 | 5 Sec | 1
3065 | EGD.UNIT3.RTD026_26AIS4_PI | VRK_H3_UCC.RTD026_26AIS4.PI | STATOR AIR IN No.4 | 5 Sec | 1
3066 | EGD.UNIT3.RTD031_26AOS1_PI | VRK_H3_UCC.RTD031_26AOS1.PI | STATOR AIR OUT No.1 | 5 Sec | 1
3067 | EGD.UNIT3.RTD032_26AOS2_PI | VRK_H3_UCC.RTD032_26AOS2.PI | STATOR AIR OUT No.2 | 5 Sec | 1
3068 | EGD.UNIT3.RTD033_26AOS3_PI | VRK_H3_UCC.RTD033_26AOS3.PI | STATOR AIR OUT No.3 | 5 Sec | 1
3069 | EGD.UNIT3.RTD034_26AOS4_PI | VRK_H3_UCC.RTD034_26AOS4.PI | STATOR AIR OUT No.4 | 5 Sec | 1
3070 | EGD.UNIT3.RTD039_26WIS_PI | VRK_H3_UCC.RTD039_26WIS.PI | STATOR CW. IN | 5 Sec | 1
3071 | EGD.UNIT3.RTD040_26WOS_PI | VRK_H3_UCC.RTD040_26WOS.PI | STATOR CW. OUT | 5 Sec | 1
3072 | EGD.UNIT3.RTD041_26US5_PI | VRK_H3_UCC.RTD041_26US5.PI | GEN UPPER GUIDE BRG. OIL TEMP. | 5 Sec | 1
3073 | EGD.UNIT3.RTD042_26DBT1_PI | VRK_H3_UCC.RTD042_26DBT1.PI | DYN. BRAKING TRANS. TEMP. (Phase A) | 5 Sec | 1
3074 | EGD.UNIT3.RTD043_26DBT2_PI | VRK_H3_UCC.RTD043_26DBT2.PI | DYN. BRAKING TRANS. TEMP. (Phase B) | 5 Sec | 1
3075 | EGD.UNIT3.RTD044_26DBT3_PI | VRK_H3_UCC.RTD044_26DBT3.PI | DYN. BRAKING TRANS. TEMP. (Phase C) | 5 Sec | 1
3076 | EGD.UNIT3.RTD045_26SG1_PI | VRK_H3_UCC.RTD045_26SG1.PI | Turbine Shaft Grand No.1 | 5 Sec | 1
3077 | EGD.UNIT3.RTD046_26SG2_PI | VRK_H3_UCC.RTD046_26SG2.PI | Turbine Shaft Grand No.2 | 5 Sec | 1
3078 | EGD.UNIT3.RTD047_26TB1_PI | VRK_H3_UCC.RTD047_26TB1.PI | Turbine Bearing No.1 | 5 Sec | 1
3079 | EGD.UNIT3.RTD048_26TB2_PI | VRK_H3_UCC.RTD048_26TB2.PI | Turbine Bearing No.4 | 5 Sec | 1
3080 | EGD.UNIT3.RTD049_26TB3_PI | VRK_H3_UCC.RTD049_26TB3.PI | Turbine Bearing No.7 | 5 Sec | 1
3081 | EGD.UNIT3.RTD050_26TB4_PI | VRK_H3_UCC.RTD050_26TB4.PI | Turbine Bearing No.10 | 5 Sec | 1
3082 | EGD.UNIT3.RTD051_26TB5_PI | VRK_H3_UCC.RTD051_26TB5.PI | Turbine Guide Brg. Oil Temp. | 5 Sec | 1
3083 | EGD.UNIT3.RTD052_STATOR_SLOT_A1_PI | VRK_H3_UCC.RTD052_STATOR_SLOT_A1.PI | Stator Winding Slot A1 Temp. | 5 Sec | 1
3084 | EGD.UNIT3.RTD053_STATOR_SLOT_A2_PI | VRK_H3_UCC.RTD053_STATOR_SLOT_A2.PI | Stator Winding Slot A2 Temp. | 5 Sec | 1
3085 | EGD.UNIT3.RTD054_STATOR_SLOT_A3_PI | VRK_H3_UCC.RTD054_STATOR_SLOT_A3.PI | Stator Winding Slot A3 Temp. | 5 Sec | 1
3086 | EGD.UNIT3.RTD055_STATOR_SLOT_B1_PI | VRK_H3_UCC.RTD055_STATOR_SLOT_B1.PI | Stator Winding Slot B1 Temp. | 5 Sec | 1
3087 | EGD.UNIT3.RTD056_STATOR_SLOT_B2_PI | VRK_H3_UCC.RTD056_STATOR_SLOT_B2.PI | Stator Winding Slot B2 Temp. | 5 Sec | 1
3088 | EGD.UNIT3.RTD057_STATOR_SLOT_B3_PI | VRK_H3_UCC.RTD057_STATOR_SLOT_B3.PI | Stator Winding Slot B3 Temp. | 5 Sec | 1
3089 | EGD.UNIT3.RTD058_STATOR_SLOT_C1_PI | VRK_H3_UCC.RTD058_STATOR_SLOT_C1.PI | Stator Winding Slot C1 Temp. | 5 Sec | 1
3090 | EGD.UNIT3.RTD059_STATOR_SLOT_C2_PI | VRK_H3_UCC.RTD059_STATOR_SLOT_C2.PI | Stator Winding Slot C2 Temp. | 5 Sec | 1
3091 | EGD.UNIT3.RTD060_STATOR_SLOT_C3_PI | VRK_H3_UCC.RTD060_STATOR_SLOT_C3.PI | Stator Winding Slot C3 Temp. | 5 Sec | 1
3092 | EGD.UNIT3.RTD061_AUX_TRANS_A_PI | VRK_H3_UCC.RTD061_AUX_TRANS_A.PI | Auxiliary Transformer Phase A TEMP. | 5 Sec | 1
3093 | EGD.UNIT3.RTD062_AUX_TRANS_B_PI | VRK_H3_UCC.RTD062_AUX_TRANS_B.PI | Auxiliary Transformer Phase B TEMP. | 5 Sec | 1
3094 | EGD.UNIT3.RTD063_AUX_TRANS_C_PI | VRK_H3_UCC.RTD063_AUX_TRANS_C.PI | Auxiliary Transformer Phase C TEMP. | 5 Sec | 1
3095 | EGD.UNIT3.DI110_92_CLS_ST | VRK_H3_UCC.DI110_92_CLS.ST | null | 5 Sec | 1
3096 | EGD.UNIT3.AI029_PT_63ROI_PI | VRK_H3_UCC.AI029_PT_63ROI.PI | GOV Oil Press Receiver | 5 Sec | 1
3097 | EGD.UNIT3.AI075_PF_PI | VRK_H3_UCC.AI075_PF.PI | Generator Power Factor | 5 Sec | 1
3098 | EGD.UNIT3.AI076_FREQ_PI | VRK_H3_UCC.AI076_FREQ.PI | Generator Frequency | 5 Sec | 1
3099 | EGD.UNIT3.AI077_GEN_Vab_PI | VRK_H3_UCC.AI077_GEN_Vab.PI | Generator Voltage Vab | 5 Sec | 1
3100 | EGD.UNIT3.AI078_GEN_Vbc_PI | VRK_H3_UCC.AI078_GEN_Vbc.PI | Generator Voltage Vbc | 5 Sec | 1
3101 | EGD.UNIT3.AI079_GEN_Vca_PI | VRK_H3_UCC.AI079_GEN_Vca.PI | Generator Voltage Vca | 5 Sec | 1
3102 | EGD.UNIT3.AI080_GEN_Ia_PI | VRK_H3_UCC.AI080_GEN_Ia.PI | Generator Current Ia | 5 Sec | 1
3103 | EGD.UNIT3.AI081_GEN_Ib_PI | VRK_H3_UCC.AI081_GEN_Ib.PI | Generator Current Ib | 5 Sec | 1
3104 | EGD.UNIT3.AI082_GEN_Ic_PI | VRK_H3_UCC.AI082_GEN_Ic.PI | Generator Current Ic | 5 Sec | 1
3105 | EGD.UNIT3.AI084_SHAFT_V_PI | VRK_H3_UCC.AI084_SHAFT_V.PI | Generator Shaft Voltage | 5 Sec | 1
3106 | EGD.UNIT3.AI088_SHAFT_I_PI | VRK_H3_UCC.AI088_SHAFT_I.PI | Generator Shaft Current | 5 Sec | 1
3107 | EGD.UNIT3.GV_CTRL_PV | VRK_H3_DGC.GV_CTRL_PV | null | 5 Sec | 1
3108 | EGD.UNIT3.STS_COUNTER_START_OP | VRK_H3_UCC.STS_COUNTER_START.OP | Number Generator Start | 5 Sec | 1
3109 | EGD.UNIT3.GEN_MODE_TIME_RUN_H | VRK_H3_UCC.GEN_MODE_TIME.RUN_H | Runtimes Generator Mode (Hour) | 5 Sec | 1
3110 | EGD.UNIT3.GEN_MODE_TIME_RUN_M | VRK_H3_UCC.GEN_MODE_TIME.RUN_M | Runtimes Generator Mode (Min) | 5 Sec | 1
3111 | EGD.UNIT3.SYNC_MODE_TIME_RUN_H | VRK_H3_UCC.SYNC_MODE_TIME.RUN_H | Runtimes synchronization Mode (Hour) | 5 Sec | 1
3112 | EGD.UNIT3.SYNC_MODE_TIME_RUN_M | VRK_H3_UCC.SYNC_MODE_TIME.RUN_M | Runtimes synchronization Mode (Min) | 5 Sec | 1